# Infection Prevention Procedures

# This should be read in conjunction with the Infection Prevention and Control Policy (M 257A) and documentation in (M 257C-W).

# Immunisation

All clinical staff are up to date with their routine vaccinations and are immunised against Hepatitis B and Tuberculosis (TB). The practice has additional clearance checks on file for team members who perform exposure prone procedures. Staff immunisation records are maintained using M 257J.

# Accepting patients for treatment

A patient is never refused treatment on the grounds that s/he has an infectious disease; patients who have infections may be unaware or may be unwilling to disclose it. If a patient has a blood borne infection the treating practitioner may obtain specialist advice before treatment commences. See the Briefing on Ebola Guidance (B 115) for the management of patients suspected to have Ebola.

# Medical History

A thorough medical history is taken by the practitioner at every consultation with the patient. The medical history is updated by the practitioner if there is a change in status of the patient’s medical status or prescription drugs. Confidentiality is maintained for all personal and treatment information.

# Personal Protective Equipment

# Clinical gloves

Non-sterile low allergy powder free latex gloves are used for clinical treatments, unless a clinician or a patient has a latex allergy, in which case nitrile or vinyl gloves are used. Sterile surgical gloves are used for invasive procedures. The use of gloves does not replace the need for hand hygiene. When removing personal protective equipment, gloves are removed first.

Gloves are single-use only and are discarded as clinical waste after use on one patient or if damaged during treatment, they are removed prior to retrieving any item from a cupboard or drawer. Used gloves are removed by rolling inside out. Gloves are never worn outside of the treatment room.

# Clinical clothing/workwear

Fresh clinical clothing is worn each day in the treatment room and it is changed if soiled, short sleeves allow the forearms to be washed. Soiled clothing is stored in a specially labelled container and washed normally at the hottest temperature suitable for the fabric to reduce any potential microbial contamination. Clinical clothing is not worn outside of the practice and outdoor clothes are not worn whilst treating patients. Clothing worn for decontamination is not worn outside of the practice. Footwear is fully enclosed and in good order.

# Plastic aprons

Disposable plastic aprons are worn single–use during decontamination procedures, when clearing up a spillage of a hazardous material. An apron is removed by pulling down and tearing the ties, it is gathered together by handling the inside and disposed of as clinical waste.

# Household gloves

Thick household gloves are used for cleaning instruments or for clearing up a spillage of a hazardous material. After each use they are washed with detergent and hot water and left to dry. Household gloves used for decontamination are replaced weekly, when damaged, or if soil cannot be removed.

# Face and eye protection

During treatment, the cleaning up of spillages and decontamination procedures there is a risk of contaminated fluids splashing into the face and eyes. Facemasks and eye protection are worn to minimise the risk.

# Protective eyewear

Protective eyewear is worn whilst treating patients, during decontamination procedures and whilst clearing up a spillage of a hazardous material. As spectacles do not provide sufficient protection, it is advisable to wear a visor or face shield over spectacles. Eyewear may be reused if cleaned according to manufacturers’ instructions. This should take place when it becomes visibly dirty and/or at the end of each session.

Patients always wear protective eyewear during treatment. If patients’ eyewear is reused, it is cleaned according to manufacturers’ instructions.

# Face masks

Facemasks are worn whilst treating patients, cleaning instruments and clearing up an accidental spillage of a hazardous material. Face masks are single use items and are changed after each patient, each decontamination procedure and if they become wet or soiled. Masks are removed without touching the outer surface and disposed of as clinical waste.

# Latex allergy

If a staff member suspects that s/he is suffering from a latex allergy a doctor will be consulted and the employee’s condition will be routinely monitored for the rest of their employment. A health surveillance record will be kept with their personal file. In cases of a staff member’s latex allergy, nitrile or vinyl gloves and non-latex ‘rubber’ dam will be substituted. If a patient has latex allergy, non-latex gloves and ‘rubber’ dam are used e.g. nitrile or vinyl.

# Single-use devices

Single-use devices such as needles, aspirator tips and mouthwash cups are utilised whenever possible. Single-use devices are never used for more than one patient and are discarded after use in an appropriate manner (e.g. sharps bin, special waste or clinical waste).

This symbol identifies single-use devices:

# Single-patient instruments (England only)

Endodontic reamers and files can be classified as single-patient instruments, meaning that they can be reused, but only on the same patient. Here is the procedure:

Following use, endodontic reamers and files are washed manually, but separately from other instruments.

After sterilization the endodontic reamers and files are stored separately from other instruments in a view pack. There is a label affixed to the pack with the patient’s name, date of birth, staff name, date used and the expiry date, which is up to one year after sterilization. The view pack is kept in the clinicians surgery. If the endodontic reamers and files need to be used after the sterilization expiry date, they are reprocessed before use.

# Decontamination of instruments

The staff member undertaking decontamination wears: their clinical clothing, a single-use apron, eye protection, facemask and heavy-duty gloves and full coverage shoes. In case of spillage of decontamination chemicals, there are appropriate chemical neutralisers, first-aid kit and eyewash in the decontamination room.

Instrument decontamination procedures (reprocessing) include:

- Separation and disposal of single-use instruments

- Transport of contaminated instruments to the decontamination area in lidded containers

- Storage of contaminated instruments

- Cleaning

  - Manual cleaning

  - Ultrasonic cleaning

- Inspection

- Sterilization

- Storage

All new instruments including metal matrix bands etc. are decontaminated before use and instruments are always decontaminated before sending for repair or disposal.

# Separation and disposal of single-use instruments

Single-use instruments are separated from other contaminated instruments. They are immediately disposed of in the appropriate way as follows:

- Needles, scalpels, sutures, endodontic reamers and files and matrix bands etc. are placed in the sharps bin

- Used and partially used anaesthetic cartridges are placed in the relevant special waste containers

- Aspirator tips, 3 in 1 tips, saliva ejectors, plastic syringes, bibs, disposable visors paper towels etc. are placed in the clinical waste bin

# Contaminated instruments

The practitioner removes cements and other hard materials from instruments before setting. It is our goal to dismantle and clean instruments as soon as possible after use, if this cannot be performed immediately, instruments are dismantled and stored in the ‘dirty’ transport container which is a rigid leak-proof container that has a tight fitting lid. Note that dirty instruments are stored for the least time possible.

# Sterilization

The Weekly Autoclave Checklist in the Eschmann Log Books are followed for the set up and testing of autoclaves at the beginning of the day, and the emptying and cleaning at the end of the day. The autoclave produces print outs which are attached in the Eschmann Log Books. To pass the start of day test the autoclave must operate within the following ranges:

| Sterilizing temperature range | Approximate pressure (bar) | Minimum Hold Time in Minutes |
| --- | --- | --- |
| Minimum | Maximum |  |  |
| 134 | 137 | 2.25 | 3 |
| 126 | 129 | 1.5 | 10 |
| 121 | 124 | 1.15 | 15 |

On no account are any safety features interfered with, circumvented or overridden. In case of a test failure, the equipment is taken out of service and the Decontamination Lead is consulted. If necessary, a maintenance engineer will be contacted. The autoclave will not be used unless it passes all tests.

As a pressure vessel each autoclave has a written scheme of examination, it is routinely inspected and tested by a Competent Person (pressure vessels), plus quarterly and yearly testing, inspection and validation as required. Servicing, repair, validation and testing by the engineer is recorded on the Individual Equipment Record (M 271B).

# Using a downward displacement autoclave

The autoclave is set up and tested following the steps in the Weekly Autoclave Checklist (M 257E). After cleaning, dry instruments are placed in the autoclave without overloading the trays. Perforated trays, cassettes or racks are used that have been validated for the selected sterilisation cycle. Handpieces are lubricated using a can of oil that is only used before sterilization (according to the manufacturers’ instructions). Instruments are not wrapped before sterilization. A record of the cycle or any faults is made on (M 257F).

# Using a vacuum autoclave

The autoclave is set up and tested following the steps in the Weekly Autoclave Checklist (M 257E). After cleaning, dry instruments are placed in the autoclave without overloading the trays. Perforated trays, cassettes or racks are used that have been validated for the selected sterilisation cycle.  Handpieces are lubricated using an oil spray can that is only used before sterilization (according to manufacturer’s instructions). Instruments may be wrapped before sterilization. A record of the cycle or any faults is made on (M 257F).

# Sterile barrier systems

The following are used to wrap instruments:

- A flexible peel pouch (sealed view pack). This is typically supplied sealed on three sides with the remaining side open for the insertion of dental instruments

Instrument wrapping

Before wrapping sterilized instruments, the worktop is cleared of clutter and is cleaned with a pre-prepared or single-use disinfectant wipe and allowed to dry.

Instruments are wrapped AFTER sterilization with a displacement (non-vacuum) autoclave, when dry, in sealed view pack and the expiry date of up to one year in the future and the signature of the staff member are recorded on the pack.

Instruments are wrapped BEFORE sterilization with a vacuum autoclave in a sealed view pack. Following sterilization the instruments are allowed to dry and the expiry date of up to one year in the future and the signature of the staff member are recorded on the pack.

# Storage of sterilized instruments

Staff hands are clean and new gloves are donned before handling unwrapped sterilized instruments. Instruments are stored in an environment where they are protected against excessive heat and where conditions remain dry.

Storing unwrapped instruments in a clinical area

Following sterilization, unwrapped instruments are stored for up to one day in a clinical area. Instruments are not stored on open work surfaces, they are protected from in covered drawer inserts. All unwrapped instruments stored in clinical areas are sent for reprocessing at the end of the day.

Wrapped instruments

Instruments that were wrapped before sterilization with a vacuum autoclave or after sterilization with a non-vacuum (displacement) autoclave are stored for up to one year. Commonly used instruments are always dealt with on a first-in first-out basis.

Before using instruments check that:

- If packed, the packaging is intact and the packaging indicates that sterilization has taken place

- The expiry date has not passed, if it has passed send the instruments for reprocessing

- The instruments with the earliest use by dates are used first (first in first out)

# There is no visible soil

# Instrument trays

Instrument trays are sterilized. When laying out instrument trays or filling view packs these are the sets of instruments that are prepared:

| Examination kit: 2x Mirrors Probe Periodontal probe | Filings kit Mirror Probe Tweezers Flat plastic Small Excavator Large Excavator Amalgam Plugger Carver Ball Ended Burnisher |
| --- | --- |

# Zoning of surfaces

Areas that could be contaminated during treatment procedures are identified, planning is carried out to keep these areas to a minimum and they are decontaminated in-between patients. If any surfaces are difficult to clean they are protected with a single-use barrier as well as being decontaminated in between patients.

# Decontamination of treatment areas

Disinfectant or detergent is used to reduce contamination on surfaces. Mikrozid Wipes are used to apply cleaning or disinfecting solutions. Cleaning centres on simple techniques using disposable wipes soaked in detergent, the surfaces are then dried. We dry the surface using a disposable paper towel. Where single-use covers are used, these are removed and the surfaces cleaned after each patient contact. We do not use alcohol spray or wipes on stainless steel surfaces or on dental instruments.

# Decontamination of treatment areas in between patients

The areas and equipment cleaned and dried in between patients include:

- Work surfaces

- Dental chair

- Dental light

- Curing lamp

- Hand controls

- Tray holder

- Spittoons

# Decontamination of treatment areas at the end of every clinical session

The areas that are cleaned and dried at the end of each session include:

- Aspirator

- Spittoon

- Taps

- Drainage points

- Splashbacks

- Cupboard doors

- Sinks

# Computer keyboards

The computer keyboards are ‘easy-clean’ waterproof keyboards, which are cleaned regularly throughout and at the end of every session with water and detergent, then dried. The keyboards are never touched with gloved hands.

# Decontamination of equipment

Ultrasonic baths, RO, sterilizers, x-ray equipment, digital sensors and other equipment are cleaned and decontaminated according to manufacturer’s instructions on a routine basis and if sent for repair.

The reusable intra-oral film/sensor is decontaminated by use of Mikrozid Wipes

The OPG bite stick is decontaminated by use of Mikrozid Wipes

Any equipment defects found during decontamination are reported to the Decontamination Lead and recorded on the Individual Equipment Record (M 271B).

# Domestic cleaning of equipment is covered in M 257I.

# Disinfection of impressions and appliances before sending to laboratory

Following removal from the mouth, impressions and appliances are immediately rinsed under running water until visibly clean. They are then immersed in the impression disinfectant bath for the manufacturer’s recommended period of 15 minutes, and the impression/appliance is then rinsed thoroughly and packaged for dispatch to the laboratory. A label is applied to the impression bag to inform the laboratory that the impressions/appliances have been disinfected.

Appliances received from the laboratory are disinfected as follows: They are immersed in the impression disinfectant bath for the manufacturer’s recommended period of 15 minutes, and they are rinsed thoroughly before they are placed in the patient’s mouth.

# Laboratory infection prevention

The Laboratory Infection Prevention Questionnaire (M 257K) is sent to our dental laboratories, it has been reviewed to ensure that each laboratory is using appropriate disinfection methods. It is also used to inform the laboratories that all impressions and appliances are disinfected before being sent to them.

# Equipment or instruments to be sent for repair

Equipment is cleaned and disinfected and if appropriate sterilized before sending for repair. If it cannot be sterilized it is cleaned and disinfected. The equipment is labelled as disinfected or sterilized as appropriate.

# X-ray equipment

X-ray film sleeves are handled with gloves. Single-use covers are used on digital x-ray film and OPT bite sticks. On removing the single-use cover, the equipment is disinfected according to manufacturer’s instructions.

# Dental unit waterlines

# Water gap

To ensure that infective agents are not introduced into the water supply this practice has an air gap between mains water and any water delivery equipment that comes into contact with blood or saliva.

# Practice water

The practice always makes sure that the hardness of water used during the decontamination cycle is compatible with the detergent chosen. The water used for decontamination is from a reverse osmosis filter.

All taps are flushed on Monday morning or following a holiday at the beginning of the first session for two minutes. Routine monitoring of water temperature and quality is carried out by Hannah Maynard who follows the checks in the Water Management Log (M 257LB).

A Legionella risk assessment is performed regularly (M 257L).

The water used in dental units is:

- Delivered by a bottled water delivery system. The bottle is emptied at the end of the day, washed out with RO water and left upside to dry. If there is visual contamination it is flushed with disinfectant and washed]

Waterlines are flushed for two minutes at the beginning and end of the day or after a prolonged period of non-use such as lunch. In between patients they are flushed for 30 seconds.

Waterlines are disinfected daily using Orotol in surgery 4 and 6 and using Pulijet in surgery 1,2 and 5.

Sterile water is used as an irrigant for surgical procedures.

# The infected team member

It is the responsibility of all dental healthcare personnel to maintain an awareness of their health. Should a person consider that s/he has contracted an infectious disease or may have been exposed to one the Decontamination Lead should be contacted before any further work is carried out. It may be necessary to modify working patterns or avoid certain procedures or even to stay at home. In the case of major disease an expert opinion will be obtained. See Briefing on Engaging Individuals with HIV

(B 170).

# Dealing with spilt, potentially infective materials

If there is a spill of blood or other potentially infective body fluid the following actions are taken:

- The process is initiated as soon as possible

- The staff member dons a mask, disposable apron, protective eye-wear and thick gloves

- Absorbent tissues or kitchen roll are placed onto the spill until it is completely absorbed

- Hypochlorite is made up either freshly using hypochlorite-generating tablets or at least weekly in clean containers at 10,000ppm available chlorine. Care is taken to avoid corrosive damage to metal fittings etc.

- The hypochlorite is poured onto the tissues to soak them, It is left to soak for at least 10 minutes

- More tissues are placed to absorb the hypochlorite solution

- The tissues are collected with two pieces of card such as two record cards and placed in a sealed bag in the clinical waste bin

- The area is wiped with the hypochlorite solution afterwards

Clinical clothing is changed if it becomes soiled with potentially infective materials. Alcohol is NOT used for cleaning in this situation. If the surface is metal, the surface is cleaned with water and detergent and dried after the use of bleach, to remove any traces of bleach, which can damage metal surfaces.

# Waste

The dental team members are responsible for ensuring that waste is:

- Correctly segregated

- Stored safely and securely on the premises

- Packaged appropriately for transport

- Described accurately and fully on the accompanying documentation when removed

- Transferred to an authorised person for transport to an authorised waste site;

- Appropriately registered for hazardous waste (if the practice you produces more than 500kg) of hazardous waste per year with necessary records and returns at premises

# Practice waste is segregated and disposed of in accordance with the procedures in the Module on Waste (M 269).

# Ventilation

A high volume aspirator is used to keep aerosol to a minimum. The aspirator vents outside of the building are not positioned where someone could inadvertently breathe the expelled air. A rubber dam is used whenever possible to further reduce splatter. The treatment room is adequately ventilated.

# Kitchen

The staff kitchen is kept clean and tidy. Instruments and equipment are not cleaned in the staff kitchen sink. Clinical materials are not stored in the same fridge as food.

# Tidiness

General tidiness and cleanliness of the practice is maintained for health and safety reasons and for the comfort of our patients. Every team member is responsible for tidiness, orderliness and cleanliness. Boxes are never left in public areas and staff regularly check the patients’ toilets throughout the day. The Practice Manager has overall responsibility.

# End of day routines

At the end of the day the treatment rooms are left tidy, with all sharp instruments stored away. It is the responsibility of the dental nurse to ensure that clinical waste bins are emptied and sharps bins are left where they cannot be disturbed and that all surfaces have been decontaminated.

The nurse must also ensure that no sharp or contaminated instruments or potentially infective materials are left in the treatment room; this includes splashes around the spittoon or on the floor and appliances that have been removed from the patient’s mouth.

# Disinfectants

The disinfectants used in this practice are: Mikrozid

Disinfectants are stored in: Closed cupboards in each surgery and in the stock cupboard on the first floor

Disinfectants are disposed by: All trained employees

# Sharps spillage

In case of a sharps spillage, the most senior member of staff should stay by the spillage to keep other personnel clear. The nearest person is sought to bring the sharps spillage kit, which consists of:

- Heavy duty gloves

- Dust pan

- Rigid piece of straight edged cardboard or plastic

- A spare sharps container (not assembled)

- A sharps container larger than containers in use in the practice (unassembled). The container must be large enough to place the type of sharps containers used in the practice inside it

The senior staff member should wear heavy-duty gloves and gently ease the loose sharps onto the dustpan using the rigid piece of cardboard or plastic. These are then carefully placed in the spare sharps container and the lid applied. This procedure must be carried out with extreme caution as sharps can

penetrate heavy-duty gloves.

In the case of a single discarded sharp, if the sharp is fully visible, the senior person present may feel able to safely pick it up and place it promptly in a sharps container. Otherwise follow the same procedure as for a spillage.

If a sharps container has been over-filled and cannot be closed, do not retrieve items from it. Instead wear heavy-duty gloves and place it in the larger unassembled container in the sharps spillage kit. Then carefully assemble and lock the outer container.

# Providing and maintaining a clean environment, domestic cleaning

Our procedures for cleaning follow the National specifications for cleanliness in the NHS which should be read in conjunction with this document.

We pay particular attention to the maintenance of appropriate standards of cleanliness and hygiene in relation to:

- Dental practice premises

- Equipment and reusable medical devices

- Materials to be used in the treatment of service users, where such materials are at risk of being contaminated

To achieve this we have appropriate documentation including a Domestic Cleaning Plan, Audit and Risk Assessment in (M 257I) and a Practice Cleaning Checklist (M 271IC). All team members share the responsibility for maintain a clean and safe environment. Cleaning requirements are:

- Identified (M 257I)

- Risk Assessed (M 257I)

- Allocated to the appropriate person (M 257I)

- Performed to the required standards in (M 257I)

# Cleaners

The cleaners are provided with training in health and safety infection prevention, and the specific instructions for cleaning the rooms of the practice. Details are kept in the cleaner’s staff training record

(M 222E). Staff are trained how to spot clean if required to do so.

# General cleaning

The practice is cleaned according to the schedule in M 257I. The colour coding for household gloves, buckets and cleaning cloths is based on the NPSA ‘Colour coding hospital cleaning materials and equipment’:

- RED -  bathrooms, washrooms, showers, toilets, sinks and floors in sanitary areas

- BLUE - general areas including waiting rooms and consultation rooms (not treatment rooms), decontamination floors and walls, reception and offices including sinks in general areas

- GREEN – kitchen/food areas

- YELLOW – treatment rooms and decontamination rooms

# General

There is no eating, smoking or drinking in the treatment room. Disposable cups are used for the patient mouthwash and disposable bibs are used to protect the patient’s clothes. The sharps container and clinical waste bins are kept out of reach of the patients and their companions.

Audit, training and review

The infection prevention and control procedures are audited twice a year using (M 257P)]

Training is provided at induction, at iComply Practice Meeting 6, at the Support Staff Training Meeting (G 170-SST)] and on the job throughout the year. The procedures are regularly reviewed at iComply Administration Step 6 and the Annual Management Review. Team training records are maintained on form (M 222E), which is kept in the individual team member’s file. All team members undertake at least 5 hours of verifiable continuing professional development on infection prevention and control topics every 5 years.

# Text boxes

The Safe Handling of Sharps Cover any cuts or grazes on the skin with waterproof dressings Always wear gloves when handling sharps and follow the hand hygiene guidelines in M 257B Only use sharps if absolutely necessary Use ‘safer sharps’ where it is reasonably practicable to do so Do not cap/re-sheath needles after use unless it is required to prevent a risk of injury, in which case use a safer sharps device The primary user of the sharps will personally dispose of them into the nearest sharps container immediately after use Do not walk with a sharp Do not rush when handling sharps, even in emergency situations If you drop a sharp, pick it up with forceps immediately Do not put sharps with dressings, tissues or other items that may hide them from view Do not put your hand into the sharps container or try to retrieve items from it Do not try to press down in the sharps container to make more room Sharps containers should be locked closed when no more than 2/3rds full. Prior to collection they are kept in a secure area Removable scalpel blades are not used at this practice Keep sharps containers out of the reach of children and vulnerable adults on a level surface above waist level, but below shoulder height. To avoid spillage never put sharps containers on the floor Never: Leave sharps lying around. Reach into a sharps container Pass sharps directly from hand to hand Overfill a sharps box Put sharps into domestic or clinical waste bags Rely on others to dispose of sharps for you

M 257B – Infection Prevention Procedures, Version 11, Page 3, Folder 5

M 257B – Infection Prevention Procedures, Version 11, Page 5, Folder 5

Manual Cleaning Take care to avoid splashing or the creation of aerosols Maintain a dirty to clean workflow Wash your hands Wear thick rubber gloves, workwear, single-use plastic apron, full coverage shoes, facemask, eye protectors Prepare sinks, equipment and setting down areas Dismantle and open instruments Fill the clean washing sink with water at the recommended temperature of 20oC Fully immerse the instruments and keep them immersed during cleaning, with sharp ends pointing away Agitate/scrub the instruments with long handled plastic brushes (not wire brushes) Drain the cleaning solution Rinse with distilled/RO water using a separate rinsing only sink After rinsing drain and, if they are to be wrapped for the vacuum autoclave, dry the instruments with single-use non-linting cloth immediately Visually inspect the instruments with an illuminated magnifier: For cleanliness – re-clean items if necessary, paying attention to serrated surfaces e.g. mosquito forceps, jaws of extraction forceps and hinges For function – discard if damaged, blunt, bent or rusted Lubricate any relevant items prior to sterilization, with dedicated ‘pre-sterilization’ lubricant (non-oil) following manufacturers’ recommendations Dispose of cleaning cloths etc. as clinical waste Replace cleaning solution and rinse water after each session Wash cleaning brushes with hot water to remove visible soil and store head up (dry) Complete any relevant documentation

Ultrasonic cleaning Fill the ultrasonic bath with Nusonic solution to the required level. Change the solution after every clinical session or if it becomes contaminated Open the joints and hinges of instruments and fully dissemble them. NOTE some instruments such as handpieces are unsuitable for ultrasonic cleaning, refer to the manufacturers’ instructions Briefly immerse instruments in cool (below 45°C, use thermometer) using potable water with Nusonic in the ultrasonic bath with a sealing lid to remove some of the blood and visible soil. Take care not to create aerosol. Place the instruments in the suspended basket and fully immerse in the bath, take care not to overfill the basket and do not place the instruments on the floor of the bath. Delicate instruments may need a modified basket and some instruments may be unsuitable for ultrasonic cleaners – such as handpieces, see the manufacturer’s instructions Close the lid and set the timer for 5 minutes following the manufacturers’ instructions for operation, do not remove the lid until the cycle is completed. Drain the basket when the cycle is completed Following ultrasonic cleaning, rinse the instruments thoroughly with fresh RO water in the rinsing sink to remove residual soil and detergents. Visually inspect with illuminated magnifier: For cleanliness – re-clean items if necessary, paying attention to serrated surfaces e.g. mosquito forceps, jaws of extraction forceps and hinges For function – discard if damaged, blunt, bent or rusted Lubricate any relevant items prior to sterilization, with dedicated ‘pre-sterilization’ lubricant (non-oil) Dry the instruments, which have to be wrapped, with a single-use non-linting cloth and sterilize them soon after ultrasonic cleaning Dispose of drying cloths as clinical waste Carry out daily, weekly, quarterly tests as found in (M 257O) and record the results on this form, taking into account the manufacturers’ recommendations. Servicing, repair, validation and testing by the engineer is recorded on the Individual Equipment Record (M 271B).

M 257B – Infection Prevention Procedures, Version 11, Page 6, Folder 5

Hand Hygiene Policy and Procedure Clean hands are essential to minimise the risk of cross infection and to safeguard the health of the hands: Fingernails are kept short, smooth and clean. Staff undertaking dental procedures do not have nail enhancements such as false nails, nail art or nail varnish. When viewed from the palm side no nail is visible. Nails are cleaned with a blunt ‘orange’ stick The practice does not use bar soap or nail brushes, nails are cleaned with a blunt ‘orange’ stick Hand and wrist jewellery is removed prior to the clinical session (this can be worn on a neck chain for convenience) The bins are foot operated or sensor Hand hygiene is carried out: Before and after each treatment session Before and after the removal of PPE Following the washing of dental instruments Before contact with sterilised instruments (wrapped or unwrapped) After cleaning or maintaining decontamination devices used on dental instruments At the completion of decontamination work Hands are washed with cool water using plain liquid soap for 40-60 seconds following the technique on the hand hygiene poster (M 257G), then rinsed thoroughly and dried with a soft, high quality paper towel, taking care not to damage the skin: At the beginning of each clinical session If they become dirty or contaminated during a clinical session If there is a build up of antibacterial hand rub (follow manufacturers’ advice on the maximum number of uses of hand rubs before washing) At the end of each clinical session after removing eye protection, face mask and apron Antimicrobial hand rubs conforming to BS EN 1500 are used on visibly clean hands as an alternative to washing at other times. The hands are rubbed using the technique on the Hand Hygiene Poster (M 257G) for about 20-30 seconds, until they are dry A hypoallergenic, water based hand cream is applied at the end of each clinical session (note that it is not to be applied before donning gloves as it may damage their integrity) The Hand Hygiene Poster (M 257G) is displayed above every hand washing basin

M 257B – Infection Prevention Procedures, Version 11, Page 15

General Cleaning Guidelines Cleaning equipment is colour coded e.g. mop heads, gloves and cloths used for toilets, kitchens and clinical areas. Different colours are used for each area according to the list above Non-shedding cloths or paper rolls are used for cleaning General-purpose detergent is used for all environmental cleaning following the manufacturers’ instructions Equipment and materials used for general cleaning are kept separate from those used for decontamination Mops and buckets are kept clean and dry, with mop heads stored up and buckets stored upside down Where carpets are in place, they have regular steam cleaning and spot cleaning Cleaning procedures Plastic bucket contents are emptied down the toilet; buckets are rinsed and cleaned with general purpose detergent then dried. If body fluids have been in contact with the bucket, it is rinsed after cleaning with a 0.1% (1000 ppm available Cl) hypochlorite solution Mops are disposable and the mop is discarded weekly or sooner if heavily soiled or contaminated with body fluids. After use mops are washed with hot water and GPD then dried and stored head up. If mop has ben contaminated it is washed with warm water and general purpose detergent then rinsed with a 0.1% (1,000 ppm available Cl) hypochlorite solution Dry mops are vacuumed after each use Lavatory brushes are rinsed in flushing water and stored dry Dust is kept to a minimum on floors with the use of a vacuum or dry mop Furniture and fittings are damp dusted with hot water and detergent If there is a known contamination on furniture or fittings, cleaning is followed with a 0.1% (1,000 ppm available Cl) hypochlorite solution Walls, ceilings, equipment cases, fixtures and fittings are cleaned with hot water and detergent. If there are splashes of blood, or known contaminated material these are cleaned promptly with 0.1% (1,000 ppm available Cl) hypochlorite solution

M 257B – Infection Prevention Procedures, Version 11, Page 18, Folder 5